## 1L,3Lb,4Lb
Single phase, 3-wire / 4-wire balanced load
1 | Voltage U | 1 | 6 | 6 | 1 | 1
1 | Current I | 1 | 6 | 6 | 2 | 4
1 | Bimetal current Iavg | 1 | 6 | 6 | 3 | 8
1 | Active power P | 1 | 5 | 5 | 4 | 64
1 | Reactive power Q | 1 | 5 | 5 | 5 |  | 1
1 | Apparent power S | 1 | 5 | 5 | 6 |  | 4
1 | Frequency F | 1 | 11 | 11 | 7 |  | 8
1 | Power factor PF | 1 | 12 | 12 | 8 |  | 32
1 | Active energy P incoming high tariff | 1 | 7 | 7 | 9 |  |  | 1
| Active energy P incoming low tariff | 0 | 7 | 0 | 9
1 | Active energy P outgoing high tariff | 1 | 7 | 7 | 10 |  |  | 2
| Active energy P ougoing low tariff | 0 | 7 | 0 | 10
1 | Reactive energy Q inductive / incoming high tariff | 1 | 8 | 8 | 11 |  |  | 4
| Reactive energy Q inductive / incoming low tariff | 0 | 8 | 0 | 11
1 | Reactive energy Q capacitive / outgoing high tariff | 1 | 8 | 8 | 12 |  |  | 8
| Reactive energy Q capacitive / outgoing low tariff | 0 | 8 | 0 | 12
1 | Mean-value P incoming-outgoing | 1 | 5 | 5 | 13 |  |  | 16
1 | Mean-value Q capacitive+inductive | 1 | 5 | 5 | 14 |  |  | 32
1 | Mean-value P incoming | 0 | 5 | 0 | 14 |  |  | 0
1 | Mean-value Q inductive / Q incoming | 0 | 5 | 0 | 14 |  |  | 0
1 | Mean-value P outgoing | 0 | 5 | 0 | 14 |  |  | 0
1 | Mean-value Q capacitive / Q outgoing | 0 | 5 | 0 | 14 |  |  | 0
0 | Tariff switching selected |  |  | 96 |  | 77 | 45 | 63
0 | Basic unit A230 / A230s used |  |  | Bytes | Index | P1 | P2 | P3
1 | Basic unit A210 / A220 used
a | Deselect / select items with 0 / 1
b | Check if Bytes is less than 230
c | Program parameters to A2xx
d | Refer to transfer sequence number

## 3Lu
3-wire unbalanced load
1 | Voltage U12 | 1 | 6 | 6 | 1 | 2
| Voltage U23 | 1 | 7 | 7 | 2
| Voltage U31 | 1 | 7 | 7 | 3
1 | Current I1 | 1 | 6 | 6 | 4 | 4
| Current I2 | 1 | 7 | 7 | 5
| Current I3 | 1 | 7 | 7 | 6
1 | Bimetal current I1_avg | 1 | 6 | 6 | 7 | 8
| Bimetal current I2_avg | 1 | 7 | 7 | 8
| Bimetal current I3_avg | 1 | 7 | 7 | 9
1 | Active power P | 1 | 5 | 5 | 10 | 64
1 | Reactive power Q | 1 | 5 | 5 | 11 |  | 1
1 | Apparent power S | 1 | 5 | 5 | 12 |  | 4
1 | Frequency F | 1 | 11 | 11 | 13 |  | 8
1 | Power factor PF | 1 | 12 | 12 | 14 |  | 32
1 | Active energy P incoming high tariff | 1 | 7 | 7 | 15 |  |  | 1
| Active energy P incoming low tariff | 0 | 7 | 0 | 15
1 | Active energy P outgoing high tariff | 1 | 7 | 7 | 16 |  |  | 2
| Active energy P ougoing low tariff | 0 | 7 | 0 | 16
1 | Reactive energy Q inductive / incoming high tariff | 1 | 8 | 8 | 17 |  |  | 4
| Reactive energy Q inductive / incoming low tariff | 0 | 8 | 0 | 17
1 | Reactive energy Q capacitive / outgoing high tariff | 1 | 8 | 8 | 18 |  |  | 8
| Reactive energy Q capacitive / outgoing low tariff | 0 | 8 | 0 | 18
1 | Mean-value P incoming-outgoing | 0 | 5 | 0 | 18 |  |  | 0
1 | Mean-value Q capacitive+inductive | 0 | 5 | 0 | 18 |  |  | 0
1 | Mean-value P incoming | 1 | 5 | 5 | 19 |  |  | 16
1 | Mean-value Q inductive / Q incoming | 1 | 5 | 5 | 20 |  |  | 32
1 | Mean-value P outgoing | 1 | 5 | 5 | 21 |  |  | 64
1 | Mean-value Q capacitive / Q outgoing | 1 | 5 | 5 | 22 |  |  | 128
0 | Tariff switching selected |  |  | 148 |  | 78 | 45 | 255
1 | Basic unit A230 / A230s used |  |  | Bytes | Index | P1 | P2 | P3
0 | Basic unit A210 / A220 used
a | Deselect / select items with 0 / 1
b | Check if Bytes is less than 230
c | Program parameters to A2xx
d | Refer to transfer sequence number

## 4Lu
4-wire unbalanced load
0
1 | Voltage U1N | 1 | 6 | 6 | 1 | 1
| Voltage U2N | 1 | 7 | 7 | 2
| Voltage U3N | 1 | 7 | 7 | 3
0 | Voltage U12 | 0 | 6 | 0 | 3 | 0
| Voltage U23 | 0 | 7 | 0 | 3
| Voltage U31 | 0 | 7 | 0 | 3
1 | Current I1 | 1 | 6 | 6 | 4 | 4
| Current I2 | 1 | 7 | 7 | 5
| Current I3 | 1 | 7 | 7 | 6
0 | Bimetal current I1_avg | 0 | 6 | 0 | 6 | 0
| Bimetal current I2_avg | 0 | 7 | 0 | 6
| Bimetal current I3_avg | 0 | 7 | 0 | 6
0 | Neutral current IN | 0 | 6 | 0 | 6 | 0
0 | Active power P1 | 0 | 5 | 0 | 6 | 0
| Active power P2 | 0 | 6 | 0 | 6
| Active power P3 | 0 | 6 | 0 | 6
1 | Active power P | 1 | 5 | 5 | 7 | 64
0 | Reactive power Q1 | 0 | 5 | 0 | 7 | 0
| Reactive power Q2 | 0 | 6 | 0 | 7
| Reactive power Q3 | 0 | 6 | 0 | 7
1 | Reactive power Q | 1 | 5 | 5 | 8 |  | 1
0 | Apparent power S1 | 0 | 5 | 0 | 8 |  | 0
| Apparent power S2 | 0 | 6 | 0 | 8
| Apparent power S3 | 0 | 6 | 0 | 8
0 | Apparent power S | 0 | 5 | 0 | 8 |  | 0
0 | Frequency F | 0 | 11 | 0 | 8 |  | 0
0 | Power factor PF1 | 0 | 12 | 0 | 8 |  | 0
| Power factor PF2 | 0 | 12 | 0 | 8
| Power factor PF3 | 0 | 12 | 0 | 8
0 | Power factor PF | 0 | 12 | 0 | 8 |  | 0
1 | Active energy P incoming high tariff | 1 | 7 | 7 | 9 |  |  | 1
| Active energy P incoming low tariff | 0 | 7 | 0 | 9
1 | Active energy P outgoing high tariff | 1 | 7 | 7 | 10 |  |  | 2
| Active energy P ougoing low tariff | 0 | 7 | 0 | 10
1 | Reactive energy Q inductive / incoming high tariff | 1 | 8 | 8 | 11 |  |  | 4
| Reactive energy Q inductive / incoming low tariff | 0 | 8 | 0 | 11
1 | Reactive energy Q capacitive / outgoing high tariff | 1 | 8 | 8 | 12 |  |  | 8
| Reactive energy Q capacitive / outgoing low tariff | 0 | 8 | 0 | 12
1 | Mean-value P incoming-outgoing | 1 | 5 | 5 | 13 |  |  | 16
0 | Mean-value Q capacitive+inductive | 0 | 5 | 0 | 13 |  |  | 0
0 | Mean-value P incoming | 0 | 5 | 0 | 13 |  |  | 0
0 | Mean-value Q inductive / Q incoming | 0 | 5 | 0 | 13 |  |  | 0
0 | Mean-value P outgoing | 0 | 5 | 0 | 13 |  |  | 0
0 | Mean-value Q capacitive / Q outgoing | 0 | 5 | 0 | 13 |  |  | 0
0 | Tariff switching selected |  |  | 85 |  | 69 | 1 | 31
0 | Basic unit A230 / A230s used |  |  | Bytes | Index | P1 | P2 | P3
1 | Basic unit A210 / A220 used
a | Deselect / select items with 0 / 1
b | Check if Bytes is less than 230
c | Program parameters to A2xx
d | Refer to transfer sequence number